NABI/ 1 (66)/ 11-12/ N-Pur                   		  		             		    17th August 2011

NOTICE INVITING QUOTATION

Dear Sirs,

Sealed Quotations in TWO BID SYSTÉM are invited on behalf of Executive Director NABI, Mohali for the purchase of following items so as to reach latest by 12th Sep’ 2011 on or before 3.30 pm. Technical and Commercial bids should be sent in separate sealed envelopes and enclosing them in a common sealed cover. The Quotations will be opened on the same day at 4 pm in the presence of tenderers, if any:

Item Description: Data loggers

Qty: 2 Nos

Specifications:

- Robust data logger capable of simultaneous measurement and recording of temperature and relative humidity under ambient laboratory conditions, cool chambers, and outdoor conditions (Important).

- It must have display features. Display refreshment rate @2 seconds or less.

- Total number of readings capacity: 15, 000 or more, non-volatile memory.

- Temperature recording range: -20°C to +50°C or more

- Relative humidity recording  range: 20-100% RH at @ 5 to 50 ˚C.

- High levels of accuracy ±0.7 ˚C and ±4% RH.

- Reading types: Actual, minimum and maximum.

- Logging intervals: 1 sec to 8 days or more

- Other features: delayed start, easy data off loading, water/splash–proof, low weight (80-120 g or less), battery life of at least one year or more and low battery monitor.

- Software operated, compatible with windows 2000, XP, Vista, and 2007, and easy to manage data logger and recorded data.

- Graphs and reading view and features like graph overlay.

- Support different data formats such as .xls, .csv, .txt, and .xml.

- Conformation to international quality standards

- Accessories: USB data download cable and thermistor probe (2-3m cable length) compatible with the data loggers with above specifications.

Optional:  External (Soil) temperature and soil moisture sensors.

BEFORE QUOTING PLEASE REFER THE INSTRUCTIONS OVERLEAF CAREFULLY

Yours faithfully,

-sd-								   	                                    (S. Krishnan)

Stores and Purchase Officer

INSTRUCTIONS

- Inquiry will be sent by UPC/Courier/Speed Post/E-mail and NABI will not be liable for any kind of Postal delay.

- The Quotation Should be addressed to the Executive Director NABI, Mohali invariably giving on the envelop Reference No.With date and due date with time.

- The Quantity mentioned in this inquiry and shall be deemed to be only approximate and will not in any manner be binding on the Institute.

- The quotation should be enclosed in a sealed envelope.

- Firms will quote separately for each article.

- The rates offered should be FOR Mohali in case of firms situated outside Chandigarh and free delivery at the Institute premises in case of local firms.

- Sales Tax: The Institute is not exempted from the payment of Sales Tax/Service Tax/VAT.  The rate (i.e., percentage of Sales Tax should be clearly indicated included or excluded) wherever chargeable.

- In case of Ex-godown terms the amount of packaging forwarding freight etc. Should clearly be indicated by percentage or lump sum amount.  Current rate of Sales Tax/VAT must be mentioned.  The institute has exempted from  Customs and Excise Duty.

- The delivery period should be specifically stated.  EX-Stock and earlier delivery may be preferred.

- The firms are requested to give detailed description and specifications together with the detailed drawings, printed leaflets and literature of the Article quoted.  The name of the manufacturers and country of manufacture should also invariably be stated in the absence of these particulars the quotation is liable for rejection.

- Samples wherever asked for will not be paid for these should be delivered in the office of the undersigned securely labelled and packed.  In case of terms who submit the samples through Railways/Road Transport the freight should be prepaid and RR should be in favour of Stores and purchase of NABI, Mohali.

- Quotation should have minimum validity of 60 days from the date of opening.

- The rates quoted should be in Nos and otherwise your quotations is liable to be ignored.

- Late or delayed quotation will not be accepted.

- Executive Director has the right to reject to your quotations and to split up the requirements or relay any or all the above conditions without assigning any reason is reserved.

Yours faithfully,

-sd-

(S. Krishnan)

Stores and Purchase Officer