NATIONAL AGRI-FOOD BIOTECHNOLOGY INSTITUTE, MOHALI

DEPARTMENT OF BIOTECHNOLOGY

(Govt. of India)

1.0 	General Information	       NABI

QUOTATION DOCUMENTS 
(General Information)

Name of Work:                  Miscellaneous Civil, Painting works and Water Supply Works at Interim Facility and Main Campus, NABI, Mohali

Estimated Cost:                     Rs 29,028.00 (Twenty Nine Thousand and Twenty Eight)

Completion Period:                One Month

Last Date of submission of Quotation:  25/04/2013 up to 3.00 pm

Date of Opening of Quotation             : 25/04/2013 at 3.30pm

(In the office of Assistant Engineer (Civil), NABI, Mohali)

| B.O.Q for Miscellaneous Civil , Painting works and Water Supply Works at Interim Facility and Main Campus, NABI, Mohali |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| S. No | Description of Item | Unit | Quantity | Rate (In Figures) | Rate (In Words) | Amount |
| 1 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge |  |  |  |  |  |
|  | In cement mortar | cum | 1.18 |  |  |  |
| 2 | Removing mortar from bricks and cleaning bricks including stacking within a lead of 50 m (stacks of cleaned bricks shall be measured) |  |  |  |  |  |
|  | From brick work in cement mortar | 1000nos | 0.5 |  |  |  |
| 3 | Earth work in surface excavation not exceeding 30 cm in depth but exceeding 1.5 m in width as well as 10 sqm on plan including disposal of excavated earth up to 50 m and lift up to 1.5 m, disposed soil to be levelled and neatly dressed | 100 sqm | 0.04 |  |  |  |
| 4 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : |  |  |  |  |  |
|  | 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate |  |  |  |  |  |
|  | 40 mm nominal size) | cum | 0.142 |  |  |  |
| 5 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centring, shuttering, finishing and reinforcement - All work up to plinth level |  |  |  |  |  |
|  | 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20mm nominal size) | cum | 0.425 |  |  |  |
| 6 | Half brick masonry with using existing bricks at site |  |  |  |  |  |
|  | Cement mortar 1:3 (1 cement :3 coarse sand) | sqm. | 8.00 |  |  |  |
| 7 | Providing and fixing G.I. pipes complete with G.I. fittings including |  |  |  |  |  |
|  | trenching and refilling etc. |  |  |  |  |  |
|  | External work |  |  |  |  |  |
|  | 20 mm dia nominal bore | rmt | 30 |  |  |  |
| 8 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) |  |  |  |  |  |
|  | 80 mm nominal bore | nos | 1 |  |  |  |
| 9 | Wall painting with acrylic emulsion paint of approved brand and manufacture to give an even shade : | sqm | 132.486 |  |  |  |
|  | Two or more coats |  |  |  |  |  |
| 10 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | sqm | 29.23 |  |  |  |
| 11 | Cement plaster 1:3 (1 cement: 3 coarse sand) finished with a floating coat of neat cement | sqm | 5.00 |  |  |  |
|  | 20 mm cement plaster |  |  |  |  |  |
|  | Total Amount (In Words & Figures) inclusive of all taxes. |  |  |  |  |  |

Terms & Conditions:-

- The Work shall be as per CPWD specifications Vol-I & II 2009.

- Rates quoted should be inclusive of all taxes, labour charges, Profit etc.

- Conditional/Incomplete quotations shall be rejected.

- Statutory tax deductions, if any as per rules of Govt. shall be deducted.

Assistant Engineer (Civil)

NABI