NATIONAL AGRI-FOOD BIOTECHNOLOGY INSTITUTE, MOHALI

DEPARTMENT OF BIOTECHNOLOGY

(Govt. of India)

1.0 	General Information	       NABI

QUOTATION DOCUMENTS 
(General Information)

Name of Work:   SCHEDULE OF QUANTITIES FOR PROVIDING AND FIXING MID HEIGHT TOUGHENED GLASS CABINS NEAR CONFERENCE ROOM AT GROUND FLOOR, INTERIM FACILITY, NABI

Estimated Cost:                                   Rs 87486/- (Rupees Eighty Seven Thousand Four Hundred Eighty Six only)

Completion Period:                               4 weeks

Last Date of submission of Quotation:  Ist July 2013 up to 3.00 pm

Date of Opening of Quotation             : Ist July 2013 at 3.30pm

(In the office of Assistant Engineer (Civil), NABI, Mohali)

| SCHEDULE OF QUANTITIES FOR PROVIDING AND FIXING MID HEIGHT TOUGHENED GLASS CABINS NEAR CONFERENCE ROOM AT GROUND FLOOR ,INTERIM FACILITY, NABI |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| S. No | Description of Item | Unit | Quantity | Rate (In Figures) | Rate (In Words) | Amount |
| 1. | Providing and fixing mid height glass partition with 12mm toughened glass (new glass) including silicon filling wherever required (including labour charges etc ) | Sft | 117.OO |  |  |  |
| 2. | Fixing(labour) charges for existing glass available at site | sft | 81.00 |  |  |  |
| 3. | Supplying and fixing of wall connecting profile (wcp) for fixing of toughened glass including making holes and cost of fixing screws as required. | metre | 28 |  |  |  |
| 4. | Labour charges for fixing existing SS pillars for supporting toughened glass including cutting tiles and making good the surface with matching tiles. | each | 6 |  |  |  |
|  | Total Amount (In Words & Figures) inclusive of all taxes, profits & overheads etc. |  |  |  |  |  |

Terms & Conditions:-

- The Work shall be as per CPWD specifications Vol-I & II 2009.

- Rates quoted should be inclusive of all taxes, labour charges, Profit etc.

- Conditional/Incomplete quotations shall be rejected.

- Statutory tax deductions, if any as per rules of Govt. shall be deducted.

Signatures & Stamp of Contractor