NATIONAL AGRI-FOOD BIOTECHNOLOGY INSTITUTE, MOHALI

DEPARTMENT OF BIOTECHNOLOGY

(Govt. of India)

1.0 	General Information	       NABI

QUOTATION DOCUMENTS 
(General Information)

- Name of Work:   Dismantling of old ceiling and installation of new grid system false ceiling at Bio-informatics server room, Interim Facility, NABI.

Estimated Cost:                                   Rs 34,201/- (Rupees Thirty Four Thousand Two     Hundred and One only)

Completion Period:                               5 weeks or I week after completion of work by HVAC agency

Last Date of submission of Quotation:.     05.07. 2013 up to 3.00 pm

Date of Opening of Quotation             :      05.07.2013 at 3.30pm

(In the office of Assistant Engineer (Civil), NABI, Mohali)

| B.O.Q for Dismantling of old ceiling and installation of new grid system false ceiling at Bio-informatics server room, Interim Facility, NABI |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| S. No | Description of Item | Unit | Quantity | Rate (In Figures) | Rate (In Words) | Amount |
| 1. | Dismantling and re-fixing of existing 12mm toughened glass including fittings such as wcp, connectors and filling of joints with silicon adhesive as applicable etc. | Sft | 80.00 |  |  |  |
| 2. | Dismantling of gypsum ceiling along with sections and disposal of waste material up to 1 km of carriage including the cost of labour and transportation. | job |  |  |  |  |
| 3. | Providing and fixing mineral fibre suspended ceiling system with 15mm exposed grit. The grid should be with 15mm wide T Flanges (ivory) as the main runner at 1200mm C/C and 600mm cross tees. The T section have a galvanising of m2 should have passed salt test, should have RH 99% and light reflection 85% thermal conductivity .052 w/m in module size of 600X600X16. The tile and grid system used together should carry a 15 years warranty. | Sqm. | 23.00 |  |  |  |
|  | Total Amount (In Words & Figures) inclusive of all taxes. |  |  |  |  |  |

Terms & Conditions:-

- The Work shall be as per CPWD specifications Vol-I & II 2009.

- Rates quoted should be inclusive of all taxes, labour charges, Profit etc.

- Conditional/Incomplete quotations shall be rejected.

- Statutory tax deductions, if any as per rules of Govt. shall be deducted.